REAL-TIME WATER LEVEL MONITORING SYSTEM USING ULTRASONIC SENSOR

1. ABSTRACT

Water level monitoring is an essential requirement in both domestic and industrial applications. This project presents a real-time water level monitoring system using an ultrasonic sensor integrated with an Arduino Uno. The system continuously measures the water level in a tank, displays it on an I2C LCD, and triggers an alert using a buzzer when a predefined threshold is reached to prevent overflow. The system is cost-effective, reliable, and easy to implement.

2. INTRODUCTION

Water management is a critical aspect of modern infrastructure. Overflowing water tanks lead to wastage and can cause structural damage. Manual monitoring is inefficient and error-prone. Hence, automation using embedded systems is necessary.

This project uses an ultrasonic sensor to measure the distance between the sensor and the water surface. The measured distance is converted into water level percentage and displayed in real-time.

3. OBJECTIVES

- To design a real-time water level monitoring system

- To display water level using an LCD

- To provide overflow alert using a buzzer

- To ensure accurate and stable sensor readings

- To develop a cost-effective solution

4. SYSTEM OVERVIEW

The system consists of three main parts:

- Input Unit – Ultrasonic sensor

- Processing Unit – Arduino Uno

- Output Unit – LCD display and buzzer

The ultrasonic sensor measures the distance and sends data to Arduino. Arduino processes the data and displays the water level on LCD. If the level crosses a threshold, the buzzer is activated.

5. BLOCK DIAGRAM

[Ultrasonic Sensor] → [Arduino Uno] → [LCD Display] → [Buzzer]

6. COMPONENTS USED

- Arduino Uno

- HC-SR04 Ultrasonic Sensor

- 16x2 I2C LCD Display

- Buzzer

- Jumper wires

- Breadboard

7. HARDWARE DESCRIPTION

7.1 Arduino Uno

Arduino Uno is a microcontroller board based on ATmega328P. It processes input signals and controls outputs.

7.2 Ultrasonic Sensor (HC-SR04)

This sensor measures distance using ultrasonic waves. It sends a pulse and calculates distance based on echo time.

7.3 I2C LCD Display

Used to display water level and system status. It uses only 4 pins which simplifies wiring.

7.4 Buzzer

Provides audible alert when tank is full.

8. SOFTWARE DESCRIPTION

The system is programmed using Arduino IDE. The code reads sensor data, processes it, and controls display and buzzer.

Libraries used:

- Wire.h

- LiquidCrystal_I2C.h

9. WORKING PRINCIPLE

- Ultrasonic sensor sends a sound pulse

- Pulse reflects from water surface

- Sensor calculates time taken

- Distance is calculated using speed of sound

- Water level percentage is computed

- Data is displayed on LCD

- If threshold reached → buzzer ON

10. MATHEMATICAL CALCULATION

Distance = (Time × Speed of Sound) / 2

Speed of Sound = 0.034 cm/µs

Water Level (%) = ((Tank Height - Distance) / Tank Height) × 100

11. CIRCUIT CONNECTIONS

Ultrasonic Sensor

- VCC → 5V

- GND → GND

- TRIG → D9

- ECHO → D10

I2C LCD

- VCC → 5V

- GND → GND

- SDA → A4

- SCL → A5

Buzzer

- Positive → D8

- Negative → GND

12. ALGORITHM

- Initialize components

- Read distance from ultrasonic sensor

- Filter invalid readings

- Calculate water level percentage

- Display data on LCD

- If level ≥ threshold:

  - Activate buzzer

  - Display alert message

- Repeat loop

13. FLOWCHART

Start → Initialize → Measure Distance → Calculate Level → Check Threshold → Display → Alert if needed → Repeat

14. RESULTS

The system successfully measures water level and displays it in real-time. It provides accurate readings with filtering and triggers alert when threshold is reached.

15. ADVANTAGES

- Low cost

- Easy to implement

- Accurate measurement

- Real-time monitoring

- Simple hardware setup

16. LIMITATIONS

- Affected by water surface disturbances

- Limited range of ultrasonic sensor

- Requires proper calibration

17. APPLICATIONS

- Household water tanks

- Industrial tanks

- Irrigation systems

- Smart water management systems

18. FUTURE SCOPE

- IoT integration (mobile monitoring)

- Automatic motor control

- Data logging system

- Cloud-based analytics

19. CONCLUSION

The project demonstrates an efficient and reliable method for monitoring water levels using an ultrasonic sensor. It reduces water wastage and provides a simple automation solution.

20. REFERENCES

- Arduino Official Documentation

- Ultrasonic Sensor Datasheet

- Embedded Systems Tutorials